# Summary Checklist: Minimum Property Standards

☐ Exterior is clean, safe, and free of debris

☐ Lawn, gardens, trees, and shrubs are maintained

☐ No unnecessary potted plants or garden boxes

☐ Fencing, gates, decks, and railings are secure and safe

☐ Windows and doors function and lock properly; coverings are present

☐ No exposed or unsafe electrical wiring outside

☐ All exterior electrical features work

☐ Interior is professionally cleaned and free of personal items

☐ Heating, cooling, and plumbing systems work properly

☐ Paint, wallpaper, and flooring are clean and in good condition

☐ Light switches, outlets, and fixtures are safe and working

☐ Smoke alarms and CO detectors are installed as required

☐ No exposed or unsafe electrical wiring inside

☐ Doors and closet doors function properly; no exterior keyed knobs inside

☐ Water is functional; plumbing and toilets do not leak or clog

☐ Hand railings are secure

☐ Appliances are clean and working

# Detailed Checklist: Minimum Property Standards

☐ All trash, debris, and personal items removed from yard, sheds, garage, window wells, and common areas

☐ Lawn mowed, trimmed, and healthy; flower beds/gardens free of excessive weeds; trees/shrubs maintained

☐ Potted plants, flower boxes, and garden boxes removed

☐ Fencing and gates safe and secure

☐ Wooden decks solid, no wood rot, safe walking surfaces

☐ Railings secure and able to support an adult

☐ Windows lock and function; screens and coverings present and working; bathroom windows frosted or covered

☐ Exterior doors are proper, lock and function; sliding glass doors glide and lock properly

☐ No exposed wiring, junction boxes, or unsafe electrical

☐ All exterior electrical (lights, outlets, etc.) working

☐ Unit and carpet professionally cleaned; free of garbage, debris, and personal items

☐ Heating and cooling systems function; air conditioning works if present

☐ Paint in good, clean condition; no mismatched or dingy paint; wallpaper clean and in good condition

☐ Flooring (vinyl, tile, laminate, wood) in good, clean condition; no trip hazards

☐ Light switches and outlets in good order; proper covers; no cracks or breaks

☐ Light fixtures working; bulbs installed (LED recommended)

☐ Smoke alarms in living areas (not bathrooms, kitchen, laundry); CO detector on each floor

☐ No exposed wiring, junction boxes, or unsafe electrical

☐ Interior doors clean, no cracks/holes, open/close easily; closet doors on track and working; no exterior keyed knobs inside

☐ Functional hot/cold water; plumbing fixtures work; no leaks or clogs; sewer/septic system works; toilets clean and working

☐ Hand railings secure

☐ Appliances clean and working